Highlights

- Closed-loop cold plasma delivery is limited by sensing, not by control theory.

- Constrained MPC already regulates CAP thermal dose under safety limits.

- In-silico: feedback cuts median thermal-dose error from 89% to 17%.

- Residual closed-loop error is set by sensor bias and lag, not plant variation.

- We propose six benchmark metrics for reporting closed-loop CAP devices.